# ECE 50600 – Biomedical Instrumentation Design

## Type of Course

Graduate Level Course, can be Technical Elective for EE/CmpE

## Catalog Description

This course covers engineering aspects of detection, acquisition and processing of physiological signals. It integrates sensors, measurement and digital signal processing with applications. Microcontrollers are used for common biomedical instrumentation design and implementation. The analog and digital electronics, analog to digital and digital to analog conversion, and interfacing with computers via microcontrollers are emphasized.

## Credits

3

## Contact Hours

3

## Recommended Prerequisites

Circuits and Electronics; Analog and Digital Signal Processing; and Programming in C.

## Corequisite Courses

## Prerequisites by Topics

Circuits and Electronics or equivalent, Analog and Digital Signal Processing, Programming in C

## Textbook

A. G. Webb, “Principles of Biomedical Instrumentation”, 1st edition

## Course Objectives

By the end of the course each student should be able to

- Analyze and design biological and medical instruments using microcontrollers

- Understand the origin of biosignals from various sources

- Acquire physiological signals for analysis with microcontrollers or computers

- Understand biosensor and electrode design and apply them for signal acquisition

## Lecture Topics

Biomedical instrument concepts, classification and design

Safety and regulation of biomedical instrumentation and device

Sensors, transducers and their applications

Signal filtering and amplification

Data acquisition and signal processing

Measurement of flow, volume and pressure of blood

Bio-potentials, ECG, EEG

Wearable Device

## Computer Usage

High

## Laboratory Experience

Median

## Design Experience

High

## Coordinator

Bin Chen, Ph.D.

## Date

11/14/2022